# ADDENDUM to ITT/ICMP/HQ/010924

# Tender Addendum No. 001

IMPORTANT: Interested Tenderers are required to acknowledge this tender addendum.

# Acknowledgements must be sent by email to tender@icmp.int prior to the Tender Closing Date.

Further to Invitation to Tender (“ITT”) - ITT/ICMP/HQ/010924 – Procurement of a Computed Tomography CT scanner, Tenderers are advised of the following change(s) or clarification(s) to the Tender Documents. Other sections in the original ITT document remain unchanged.

ICMP has a preference for purchasing a CT scanner that fully complies with the stated specifications. However, ICMP will consider alternatives to the preferred case and all bids will be rated both technically and financially to determine "best value for money."

“Best value” will also consider the costs for the provision of maintenance including labour, any consumables and parts during the initial two (2) year warranty period, including 1 (one) annual on-site preventative visit each year by a service technician;

Modifications:

Equipment Specifications

- Wireless Access Point: preferrable but not set as a minimum requirement.

- Inclusion (availability) of:

- Metal Artefact Reduction - reduces artefacts from metallic foreign bodies and implanted medical devices improving correlation with dental/medical records and possible unique identifying features

- Post Processing Software capable of advanced 3D visualization techniques including but not limited to segmentation and Volumetric/Cinematic Rendering