Invitation to Tender (“ITT") - ITT/ICMP/HQ/010924 –

Procurement of a Computed Tomography CT scanner

The International Commission on Missing Persons (“ICMP”) invites true and compliant bids in response to the instructions and specifications indicated below.

- Instructions

- Any bid submitted in response to this ITT will be regarded as an offer by the bidder and does not constitute or imply the acceptance of the bid by ICMP. ICMP is under no obligation to award a contract to any bidder as a result of this ITT.

- ICMP is not bound in any way and does not have to accept the lowest bid or any bid and reserves the right to accept a portion of any bid.

- ICMP reserves the right to rescind the ITT at any time and without cause.

- While every effort has been made to give bidders an accurate description of ICMP’s requirements, bidders should make their own assessment about the methods and resources needed to meet those requirements.

- Offering an inducement of any kind or failing to declare a conflict of interest in relation to this ITT, will disqualify a bid from being considered;

- All costs incurred for the preparation and submission of bids are to be borne by the bidders and will not be reimbursed by ICMP.

- If you are interested in this ITT, you should submit a bid in English language by email.

- All bids submitted should be valid for a period of 60 (sixty) calendar days from the closing date for receipt of bids during which the bidder may not modify the terms of the bid in any respect.

- The submission of a bid in response to this ITT implies the bidder’s acceptance of all terms and conditions stipulated herein. These terms and conditions will be binding on the successful bidder for the duration of the potentially awarded contract. Bidders are also required to confirm acceptance of ICMP’s General Terms and Conditions (“GTC”).

- At the request of the bidder, ICMP may provide additional information solely for the purpose of clarifying the ITT documents.

- Background to ICMP

ICMP is an international organisation with its Headquarters located at Koninginnegracht 12, 2514AA, The Hague, the Kingdom of the Netherlands. ICMP works with governments, civil society, justice institutions and other organizations throughout the world to address the issue of missing persons. Its mandate includes securing the cooperation of governments and other authorities in locating persons missing as a result of armed conflicts, human rights abuses, natural and man-made disasters, and other involuntary reasons, and to assist them in doing so.

More about ICMP and its mandate can be found on ICMP’s website at: www.icmp.int

- Scope of Tender

ICMP is inviting suppliers and manufacturers for the provision, delivery, installation, maintenance, and training on the use of:

- (one) Computed Tomography (“CT”) scanner.

(hereinafter referred to as the “Equipment”)

  - Delivery location and timetable

The successful bidder should provide, deliver and install the Equipment to Kyiv, Ukraine by 1 May 2025 at the latest. A detailed address will be provided by ICMP to the successful bidder at a later date. Delivery Incoterm rules DDP 2020 shall apply.

  - Equipment specifications

The Equipment should meet the following specifications as a minimum:

| Technical specifications | Details | Comment |
| --- | --- | --- |
| Slices | 64 |  |
| Rotation times | Between 0.33-0.5 s |  |
| Tube | 7.0MHU | 17.5 MHU equivalent value |
| Power | Between 55-75 kW | Desired power is 75kW; however, lower KW ratings will be considered provided that bidders can guarantee equipment with such lower KW ratings is compatible with the desired KW in downtime from overheating, and working life of tubes is not reduced. Bidders are requested to provide details of the guarantee. |
| High voltage | 70–140 k in 10-kV steps Sn100, Sn110, Sn120, Sn130, Sn140 |  |
| mA | Between 665mA and 825mA |  |
| z-coverage | 32 x 0.7 mm |  |
| Max. table load | up to 307 kg |  |
| Scannable range | 1600 mm | Up to 2000 mm preferred |
| Weight | Between1300-2000Kg | Gantry with tablet, remote control and uninterruptable power supply (UPS) |
| Patient table | Between 300-760 kg | 592 kg for 2000 mm table |
| Control unit with TFT monitor, control box, keyboard |  |  |
| Wireless access point |  | This allows for wireless workflow and connectivity of the CT system. The ability to remotely control the system as well as see images on tablets etc. for review. |
| Operating console |  |  |
| Room dimensions |  |  |
| Room height | Up to 2300 mm | Measured from the highest point of the finished floor to the lowest point of the ceiling |
| Door height | 1250mm | Final clearance; The delivery path and the CT room will have doors at or above this height |
| The room preparation including the provision of a diagnostic window will be provided by the end customer. |  |  |
| Transport |  |  |
| Transport device | 3500 x 1050 x 2000 (L x W x H) up to 2050 Kg | Gantry with transport device |
| Weight | Between 1500 and 2050 Kg | Total weight of gantry with transport device (heaviest item). For the entire transport path and the CT room this weight limitation will be important. |
| Weight capacity | Min. 400kg | Per slab/plate (static point load); Total weight of the gantry not to exceed 2000 kg |
| Ability to manage power outage |  | Can run on three-phase generators; with intermittent power outages it will be important to protect the computers powering the CT and reconstructing the images. An onboard Uninterruptible Power Supply (UPS) that can facilitate this will be mandatory. This will allow, in the case of a power outage, no loss of scanning data and the safe shutdown of the computer systems. |

- Bidder Requirements

The successful bidder should be able to:

  - Provide the required Equipment which should, at a minimum, meet the specifications set out in this ITT.

  - Organize shipment and delivery on DDP incoterms 2020 basis, and installation at the point of destination in Kyiv, Ukraine, as requested by ICMP, and to perform local support;

  - Provide introductory and, where required, advanced user training, of at least 5 (five) days, and details of what the training would entail;

  - Provide warranty to include all parts and labour for a minimum of 2 (two) years from the date of completion of installation, with the possibility of extension for an additional two (2) years;

  - Provide maintenance labour, as well as any consumables and parts during the initial two (2) year warranty period, including 1 (one) annual on-site preventative visit each year by a service technician;

  - Provide in-country technical assistance/support in Ukraine;

  - Accept ICMP’s GTC;

  - Possess good knowledge of spoken and written business English to enable smooth collaborative working with the ICMP;

  - Bidder’s qualification – bidders to provide evidence (as detailed in Annex A, Part B, item 4.8) of:

    - Time in business;

    - Financial stability;

- Previous experience with sales of same/similar Goods; and

- Compliance with Ukrainian legal and obligations applicable to the Goods.

- Deliverables

The successful bidder should:

  - Ensure the CT Scanner is delivered and installed at the relevant forensic medical institution in Ukraine no later than 1 May 2025.

  - Deliver at least 5 (five) days of training to forensic medical specialists on the set-up and use of the CT Scanner and associated software.

  - Provide ongoing annual service and maintenance of the CT Scanner during the initial, and any extended, warranty period.

- ITT Timeline

The proposed timetable for this ITT and the resulting deliverables, are outlined below:

| Activity | Date and Time |
| --- | --- |
| ITT issued | 7 Nov 2024 |
| Bidders to confirm intention to bid by | 13 Nov 2024 |
| ITT clarification question deadline | 15 Nov 2024 (@15:00HRS CET) |
| ITT submission deadline | 28 Nov 2024 (@15:00HRS CET) |
| Notification of award | 13 Dec 2024 |
| Equipment (delivery and installation to Ukraine) | By 1 May 2025 at the latest |
| Training | Training should occur within 1 week of installation, and/or at a date agreed on by both the user and the succesful biddder. |

- Budget

ICMP is a grant-funded, treaty-based international organization with its Headquarters in The Hague, the Netherlands.

All bids should be provided in Euros, and payment will be in Euros. The cost of the applicable Ukrainian duties and taxes shall be shown separately. ICMP will confirm before the contract is awarded to the successful bidder, how any applicable Ukrainian duties and taxes will be paid.

ICMP’s standard payment term is 30 (thirty) days from the later of:

- Satisfactory performance of the Services and/or delivery of any applicable Goods;

- Acceptance by ICMP thereof; and

- Receipt of an original, conforming invoice issued by the successful bidder/Contractor.

- ITT Clarification Questions

ICMP invites clarification questions related to this ITT. Please send any questions to ICMP’s Procurement Team, who can be contacted at tender@icmp.int, by 15:00 CET on 15 November 2024.

ICMP shall endeavor to respond to clarification questions within 2-3 working days.

- ITT Response Submission

Responses to this ITT must be made using the templates provided in Annexes A (Technical Response Template) and B (Financial Response Template). The response submission may include a brochure with complete specifications of the CT Scanner and information about its country of manufacture. Responses can be submitted in Word or PDF format via a single email not exceeding 20 MB in size to tender@icmp.int, with the email subject Tender ITT/ICMP/HQ/010924, by 15:00 CET on 28 November 2024. Submissions received after this time and date will be rejected.

The bidder guarantees that its response submitted to ICMP will be free from any form of computer virus and will not contain corrupted content.

Bids which are incomplete, or which do not comply with the conditions laid out in this ITT will not be considered by ICMP.

- Publication

This ITT and its annexes have been published in English on ICMP’s website at  https://www.icmp.int/about-us/procurement/, as well as through ICMP’s LinkedIn page at https://nl.linkedin.com/company/international-commission-on-missing-persons-icmp- and on www.playtender.com.

- Contract Award

If ICMP decides to award a contract, it will be under the best value for money principle. In that case, the bidder with a competitively priced offer, that is technically accepted and has received the highest combined technical and financial score(s) shall be awarded the contract with consideration of price, delivery time, after sales service, overall quality, compliance with technical specifications, and all other requirements mentioned in this ITT.

Financial scores (F) will be computed as follows:

The lowest price proposal (Em) will be given a financial score (Fm) of 10 points. The financial scores of the other proposals will be computed applying the formula:

F = 10 x Em/E, where:	Em is the lowest evaluation price, and

E is the evaluation price of the proposal under consideration.

The weights given to the technical and financial scores are as follows:

Technical = 30% - Financial = 70%

In the above paragraph, the term “technically accepted” refers to the ability of a bidder to meet, and hopefully exceed, the requirements and deliverables outlined in sections 3, 4 and 5.

All suppliers and manufacturers doing business with ICMP should maintain high ethical standards and respect international human rights laws. They should not take part in child labour, sexual exploitation, or human trafficking, and ensure decent working conditions for their staff. ICMP reserves the right to reject bidders that do not meet these standards.

As set out in ICMP’s GTC, the selected supplier/manufacturer will not have and will not, directly or indirectly, engage in any business activity that contravenes sanctions imposed by the following entities:

- HM Treasury’s Office of Financial Sanctions Implementation – Financial sanctions: consolidated list of targets;

- United Kingdom Home Office – Proscribed terrorist groups or organisations;

- European Union – Consolidated list of sanctions;

- United Nations – United Nations Security Council Sanctions List;

- World Bank – World Bank Listing of Ineligible Firms & Individuals; and,

- The Office of Foreign Assets Control (“OFAC”) of the US Department of the Treasury.

If found successful, ICMP will screen bidders to ensure compliance with ICMP’s GTC.

If a contract is awarded, ICMP reserves the right to terminate it, if it finds that illegal or corrupt practices have taken place in connection with the contract award or execution.

ANNEX A: 	BIDDER’S TECHNICAL RESPONSE

(This Form must be submitted to ICMP using the bidders’ official letterhead)

We, the undersigned, hereby accept in full the ICMP’s General Terms and Conditions (“GTC”), and

hereby offer to supply the deliverables listed Sections 3-5 of this ITT.

General Information

| ITT reference | ITT/ICMP/HQ/010924 | Currency of quotation (3-letter code) | EUR |
| --- | --- | --- | --- |
| Date ITT published | 7 November2024 | Quotation validity period | 60 calendar days |
| Time and date ITT closes | 28 Nov 2024 (@15:00HRS CET) | Required delivery date | 1 May 2025 at the latest |
|  |  | Required delivery destination | Kyiv, Ukraine |
| ITT point of contact | Tender@icmp.int | Required delivery terms and conditions | The bidder will comply with ICMP’s delivery terms and conditions |

Part A. Company Information

| Company name |  |
| --- | --- |
| Company address |  |
| Company/business registration number |  |
| Email |  |
| Phone |  |
| Contact Person |  |

Part B. Technical Response (in English)

| 4.1. Be able to provide a CT scanner that meets the specifications laid out in the ITT. | Word summary limit: 1,000 words or may include a brochure with complete specifications about the CT scanner. |
| --- | --- |
| 4.2. Be able to organize shipment and delivery on DDP incoterms 2020 basis, and installation at the point of destination in Kyiv, Ukraine, as requested by ICMP, and to perform local support. Please indicate either YES or NO in your response. NOTE: A negative response i.e., ‘NO’ means automatic exclusion from the tender process. | YES / NO |
| 4.3. Be able to provide introductory and where required, advanced user training, and details of what the training would entail. (Delivery of at least 5 days training to forensic medical specialists on the set-up and use of the CT scanner and associated software.) | Word summary limit: 500 words |
| 4.4. Provide warranty to include all parts and labor for 2 (two) years with the possibility of extension for 2 (two) additional years. | Word summary limit: 500 words |
| 4.5. Provide maintenance labour, as well as consumables and parts throughout the initial 2 (two) year warranty period, including 1 (one) annual on-site preventative visit each year by a service technician. | Word summary limit: 500 words |
| 4.6. Be able to provide in-country technical assistance/support in Ukraine. Please indicate either YES or NO in your response. NOTE: A negative response i.e., ‘NO’ means automatic exclusion from the tender process. | YES / NO |
| 4.7. Be willing and able to accept ICMP’s GTC. Please indicate either YES or NO in your response. NOTE: A negative response i.e., ‘NO’ means automatic exclusion from the tender process. | Acceptance of ICMP’s General Terms and Conditions: YES / NO |
| 4.8. Possess good knowledge of spoken and written business English to enable smooth collaborative working with ICMP. (Please indicate either YES or NO in your response) | Working level spoken and written English: YES / NO |
| 4.9. Qualification – bidders to provide evidence of - Time in business (preferably three years). - Financial stability (preferably over three years). - Previous experience with sales of goods preferably over three years. - Assurance that the bidder will comply with all legislation and other obligations of the Ukraine applicable to the Goods. - Provide proof of sales of same/similar goods to key users, preferably in the Ukraine, as evidenced by names, products sold, and contract values. | Word summary limit: 500 words |

Part C. Name and Signature of the Bidder’s Authorised Person

| Name |  |
| --- | --- |
| Position |  |
| Signature |  |
| Date |  |

ICMP’s General Terms and Conditions (attached as a separate document).

ANNEX B: 	BIDDER’S FINANCIAL RESPONSE

(This Form must be submitted to ICMP using the bidder’s official letterhead)

We, the undersigned, hereby accept in full the ICMP’s General Terms and Conditions, and

hereby offer to supply the deliverables listed in Sections 3-5 of this ITT.

General Information

| ITT reference | ITT/ICMP/HQ/010924 | Currency of quotation (3-letter code) | EUR |
| --- | --- | --- | --- |
| Date ITT published | 7 November 2024 | Quotation validity period | 60 calendar days |
| Time and date ITT closes | 28 Nov 2024 (@15:00HRS CET) | Required delivery date | 01 May 2025 at the latest |
|  |  | Required delivery destination | Kyiv, Ukraine |
| ITT point of contact | Tender@icmp.int | Required delivery terms and conditions | The bidder will comply with ICMP’s delivery terms and conditions. |

Part A. Company Information

| Company name |  |
| --- | --- |
| Company address |  |
| Company/business registration number |  |
| Email |  |
| Phone |  |
| Contact Person |  |

Part B. Financial Response

| Description | Cost | Ukrainian Duties and Taxes | Total Cost (EUR) |
| --- | --- | --- | --- |
| Cost of the CT Scanner including installation and delivery to Kyiv, Ukraine and two-year warranty |  |  | EUR |
| Cost per annum – for service and maintenance (parts and labour) of the CT Scanner for years 1 and 2 |  |  | EUR |
| Cost per annum – for parts and labour for Warranty extension for years 3 and 4 (optional) |  |  | EUR |

Part C. Name and Signature of the Bidder’s Authorised Person

| Name |  |
| --- | --- |
| Position |  |
| Signature |  |
| Date |  |

ICMP’s General Terms and Conditions (attached as a separate document).